## AUDIT SUMMARY
Infection Prevention & Control Environmental Audit Tool 2024 for General Practice (Version 1 July 2024)
(Adapted from Infection Prevention Society Tool for General Practitioner Settings - Quality Improvement Tool v2 2016)
GP Practice: | Commonfield Road | Standards Audited: | Current % score
Address: | 156 Commonfield Road, CH49 7LP | General/Staff Knowledge | 85
Practice Manager: | Mandy Horrocks | General - Environment | 100
Accompanied By: | Jayne Hennesey | General - Toys/Books | N/A
Date of Audit: | 2025-12-04 | General - Domestic Room | 76.4706
Audit Completed By: | Claire Sherratt, Senior Infection Prevention & Control Nurse | Treatment Room - Clinical | 95
Date Audit Report Completed: | 2025-12-16 | Personal Protective Equipment | 100
|  | Transportation of Specimens | 100
|  | Sharps Handling & Disposal | 87.5
|  | Vaccine Transportation & Storage | 100
|  | Dirty Utility/Sluice | N/A
|  | Kitchen/Chilled Water | N/A
|  | Storeroom & Equipment Storage | 88.8889
Audit Scoring Key: |  | Baby Changing Facilities | 100
Good Compliance | 95 - 100% | Patient Toilets | 100
Action Required | 80 - 94% | Linen | N/A
Urgent Action/ Improvement Required | 79% and below | Overall Score | 93.8963

## General-Staff Knowledge
1. General/Staff Knowledge
Question Number | Statement | Yes/No/NA | Comments | Actions (To be completed by Practice Manager) | Date of Completion (To be completed by Practice Manager)
1 | Does this GP practice have a designated person responsible leading on IPC who completes audits and monitors regularly? e.g., GP setting manager? | Yes
2 | Is there clear information about when and how to contact the IPC service? including out of hours? | Yes
3 | Is there evidence of a process /agenda for reporting IPC risks/untoward incidence in practice significant event meetings? | Yes
4 | Have practice audits been undertaken and improvements made? Are recent action plans with a proposed date in progress/completed? | No | Although no self audits have been undertaken since the last visit from IPC service in 2022, the action plan has been reviewed and improvements reported (N.B recent management change). It is advised that the GP practice undertake an annual IPC self audit to monitor IPC standards.
5 | Have staff in this GP setting been offered immunisation as per current national guidance? | Yes
6 | Are practice staff aware of and compliant with the policy of being absent from work when they are potentially infectious? | Yes
7 | Do staff know what to do if they or a colleague sustains an inoculation injury? | Yes
8 | Have all staff in this GP setting received IPC induction training and up to date with IPC mandatory training? | Yes
9 | Do staff (if appropriate to their job role) receive training in aseptic technique? | No | Staff who employed by the practice have previously had training. GP practice to introduce Aseptic training.
10 | Do staff know how to decontaminate a blood or bodily fluid spillage safely? | Yes
11 | Are all disinfectants including spill kits locked away in a COSHH approved cupboard? | Yes
12 | Do staff know the symbol used to indicate single use? | Yes
13 | Are single-use items used once and then discarded? | Yes
14 | Are staff adhering to bare below the elbow? | No | All clinical staff to required to be bare below the elbow.
15 | Are staff aware of the items of equipment for which they are responsible for cleaning? | Yes
16 | Is all equipment included within the departments cleaning checklist? | Yes
17 | Are outside waste containers or storage waste compound areas kept clean and tidy without evidence of vermin and or inappropriate items? | Yes
18 | Are patients provided with appropriate containers for specimens to be obtained at home? | Yes
19 | Is there a process in place to review specimen results to ensure that patients are receiving appropriate antibiotic treatment? | Yes
20 | Are staff aware when not to undertake dipstick urinalysis of urine for the diagnosis of UTIs ? | Yes | Due to the GP practice having no sluice facilities dipstick urinalysis is undertaken in clinical rooms (if required). Advise that a risk assessment is undertaken for the safe management of bodily fluids.
| Yes | 17
| No | 3
| N/A | 0
| Yes & No | 20
| % Audit Score General/Staff Knowledge | 85

## General Environment
2. General Environment
Question Number | Statement | Yes/No/NA | Comments | Actions (To be completed by Practice Manager) | Date of Completion (To be completed by Practice Manager)
1 | Is the general environment suitable i.e. sufficient space and layout? | Yes
2 | Is there access to alcohol-based hand rub near reception? | Yes
3 | Are all furnishings and fittings visibly clean? | Yes
4 | Are all furnishings and fittings in a good state of repair? | Yes
5 | Are all surfaces smooth, impervious (for easy cleaning)? | Yes
6 | Is the floor visibly clean? | Yes
7 | Is the flooring in a good state of repair? | Yes
8 | Is the environment tidy and uncluttered? | Yes
9 | Are other items e.g., TV screens, computer screens, telephones clean/cleanable and in good condition? | Yes
10
11
12
13
14
15
16
| Yes | 9
| No | 0
| N/A | 0
| Yes & No | 9
| % Audit Score General Environment | 100

## General Toys Books
3. General Toys/Books
Question Number | Statement | Yes/No/NA | Comments | Actions (To be completed by Practice Manager) | Date of Completion (To be completed by Practice Manager)
1 | Is the play area visibly clean? Cleanable and in good state of repair? | N/A
2 | Are all toys/books included on cleaning schedules? | N/A
3 | Are all toys/books visibly clean, cleanable and in good condition? | N/A
4 | Are toys/books when not in use stored in a designated storage area? | N/A
5
6
7
8
9
10
11
12
13
14
15
16
| Yes | 0
| No | 0
| N/A | 4
| Yes & No | 0
| % Audit Score General Toys/Books | #DIV/0!

## General Domestic Room
4. General Domestic Room
Question Number | Statement | Yes/No/NA | Comments | Actions (To be completed by Practice Manager) | Date of Completion (To be completed by Practice Manager)
1 | Is the domestic room suitable given the items requiring storage and the procedures performed in there? | Yes
2 | Is the domestic room including floors, furnishings and fittings and its contents, clean, in good condition, tidy and free from clutter? | Yes
3 | Is there a disposal unit for the disposal of contaminated wastewater in the domestic room? | No | Advise a risk assessment is completed.
4 | Is the unit for the disposal of contaminated wastewater visibly clean? | N/A
5 | Are mops and buckets, mop bucket ringers stored clean, dry and mops stored inverted? | No
6 | Are mop heads laundered after use or disposable? | Yes
7 | Is there a colour coding system in place for cleaning equipment/environment? | Yes
8 | Is cleaning equipment and machinery left clean and dry after use? | N/A | Not observed during visit.
9 | Are any unused/cleaned items stored such that they are free from any likely splash contamination? | Yes
10 | Are cleaning cloths laundered after use or disposable or microfibre used in line with manufacturers instructions? | Yes | single use
11 | Is there a low level facility for staff to fill buckets with water for cleaning? | No | Kitchen sink or nurses rooms used. Advise a risk assessment is completed.
12 | Are waste bags filled up to ¾ full and capable of being tied/secured? | Yes
13 | Are waste bags labelled before storage? | Yes
14 | Are full waste bags stored in a designated safe, lockable area? | Yes
15 | Are cleaning schedules completed, signed and up to date with frequencies and responsibilities identified? | No | Not available to view at time of audit.
16 | Do the domestic staff have access to appropriate PPE? | Yes
17 | Is there easy access to handwash facilities either within the room or close by? | Yes
18 | Is there a poster reminding staff of correct procedures including colour coding? | Yes
19 | Are cleaning and disinfectant products available? | Yes
| Yes | 13
| No | 4
| N/A | 2
| Yes & No | 17
| % Audit Score General Domestic Room | 76.4706

## Treatment Room Clinical Room
5. Treatment Room Clinical
Question Number | Statement | Yes/No/NA | Comments | Actions (To be completed by Practice Manager) | Date of Completion (To be completed by Practice Manager)
1 | Are all furnishings and fittings visibly clean, in a good state of repair? | No | Consultation room 4: high dust to curtain rail and cupboard.
2 | Are all surfaces smooth, impervious (for easy cleaning)? | Yes
3 | Is the floor visibly clean? | Yes
4 | Is the flooring in a good state of repair minimising infection risk ? | Yes
5 | Is the environment tidy and uncluttered? | Yes
6 | Is there a designated hand wash basin used for handwashing only? Is the hand wash basin clean, in good condition and devoid of extraneous items? NB: All rooms used as clinical to have hand wash basin present. | Yes | Ensure handwash basin is free from extraneous items.
7 | Is the handwash basin easily accessible to users? | Yes
8 | Is the basin of a safe design i.e plug free, overflow free, waste offset from tap flow, providing water at a comfortable temperature (ie mixer taps or thermostatically controlled), elbow operated or paper towels used to turn off taps? | Yes | Nurses consultation rooms : in addition to hand hygiene basins there are metal sinks, it was reported that these sinks are not used and water safety checks are undertaken by the cleaning service.
9 | Is the soap dispensed from a single use cartridge? | Yes
10 | Is the liquid soap dispenser wall mounted and containing soap? | Yes
11 | Is the soap dispenser visibly clean? | Yes
12 | Are paper towels available from an enclosed dispenser? | Yes
13 | Is the paper towel dispenser visibly clean and containing paper towels? | Yes
14 | Is there a laminated hand hygiene poster displayed? | Yes
15 | Are all posters laminated and wipeable? | Yes
16 | Is alcohol-based hand rub available at the point of care? | Yes
17 | Are alcohol-based hand rub containers visibly clean? | Yes
18 | Are there facilities available for the correct disposal of domestic/offensive/infectious waste? | Yes
19 | Are the bins clean, in good condition, not overfilled and operated by a hands free system? | Yes
20 | Is waste segregated correctly? | Yes
21 | Is there a designated trolley for clinical procedures? | Yes
22 | Are dressing trolleys/trays structurally sound and in a good state of repair? | Yes
23 | Are dressing trolley/trays visibly clean? | Yes
24 | Is there sufficient storage space? | Yes
25 | Are all products stored above floor level? | Yes
26 | Are all work surfaces free from clutter/ inappropriate items? | Yes
27 | Are shelves used to store sterile products visibly clean? | Yes
28 | Are all cupboards visibly clean? | Yes
29 | Is the examination couch/chair cover impervious and washable? | Yes
30 | Is the examination couch/chair visibly clean and in good condition? | Yes
31 | Is the couch/chair in a good state of repair? | Yes
32 | Are any pillows completely covered in an impervious material? | Yes
33 | Are all curtains visibly clean and on a cleaning/replacement schedule? | Yes
34 | Are items sent for service, inspection or repair, appropriately cleaned and/or disinfected, and a label of contamination status attached? | N/A
35 | Any instruments are requiring autoclave are they stored in a rigid, lidded container and labelled correctly? | N/A
36 | Is all equipment i.e. stethoscopes, Blood pressure monitoring, doppler machines clean/cleanable and in good state of repair? | No | Manual sphygmomanometer dusty.
37 | Is all this equipment cleaned in between patient use? | Yes
38 | Are spillage kits available for use on body fluid spillages? | Yes
39 | Are single use tourniquets visibly clean? | Yes
40 | Is there an equipment cleaning checklist that is completed and up to date? | Yes
41 | Are staff aware of the cleaning schedules and where they are kept? | Yes
42 | Are detergent /disinfected wipes approved wipes/cleaning materials available for decontamination of equipment between patient use? | Yes
| Yes | 38
| No | 2
| N/A | 2
| Yes & No | 40
| % Audit Score Treatment Room - Clinical Room | 95

## PPE
6. Personal Protective Equipment
Question Number | Statement | Yes/No/NA | Comments | Actions (To be completed by Practice Manager) | Date of Completion (To be completed by Practice Manager)
1 | Are single use gloves (in a range of sizes) available? | Yes
2 | Are single use plastic aprons (or gowns if required) available? | Yes
3 | Are all PPE stored appropriately away from the risk of contamination? | Yes
4 | Is eye protection available if required? | Yes
5 | Are fluid resistant facemasks available? | Yes
6 | Are FFP3 masks available if required? | Yes
7 | Is all PPE used once and then discarded after each use? | Yes
8 | Is PPE changed between tasks on the same patient? | Yes
9 | Does the GP practice comply with UKHSA/ guidance for PPE? | Yes
10 | Are staff confident in knowing when and what PPE to wear? | Yes
11 | Are staff observed to put on and remove PPE correctly? | N/A
12 | Is hand hygiene performed following removal of PPE? | Yes
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
| Yes | 11
| No | 0
| N/A | 1
| Yes & No | 11
| % Audit Score PPE | 100

## Transportation of Specimens
7. Transportation of Specimens
Question Number | Statement | Yes/No/NA | Comments | Actions (To be completed by Practice Manager) | Date of Completion (To be completed by Practice Manager)
1 | Is there a procedure for the safe handling of clinical specimens which includes: the collection, labelling, storage pre-collection and transportation of clinical specimens? | Yes
2 | Have staff who secure and send laboratory specimens received training on the safe handling? | Yes
3 | Are specimens in appropriate containers and packaging? | Yes
4 | Are specimens awaiting collection stored appropriate, away from public and staff rest rooms/areas? | Yes
5 | Is there a designated specimen fridge used only for specimens? | Yes | Available if required.
6 | Are specimen collection envelopes /transport boxes visibly clean? | N/A
| Yes | 5
| No | 0
| N/A | 1
| Yes & No | 5
| % Audit Score Transportation of Specimens | 100

## Sharps Handling & Disposal
8. Sharps Handling & Disposal
Question Number | Statement | Yes/No/NA | Comments | Actions (To be completed by Practice Manager) | Date of Completion (To be completed by Practice Manager)
1 | Do the sharps containers conform to BS7320 (1990) / UN3291 standards? | Yes
2 | Are sharps containers assembled correctly? | Yes
3 | Are all sharps containers labelled or tagged with date, locality and a signature on assembly? | Yes
4 | Are all sharps containers free from protruding sharps? | Yes
5 | There are no inappropriate items in the sharps container? | Yes
6 | Are the contents of all sharps containers below the `fill line`? | Yes
7 | Are in use sharps containers safely positioned and out of reach of vulnerable people? | Yes
8 | Are sharps container closure lids temporarily closed in between use? | No
9 | Are sharps disposed of safely and at the point of use? | Yes
10 | Are sharps disposed correctly via the correct colour coded stream? | No
11 | Are used needles and syringes discarded as a complete single unit? | Yes
12 | Are used sharps disposed of without re-sheathing? | Yes
13 | Are locked sharps containers stored in a secure facility away from public access until collected for disposal? | Yes
14 | Is there a laminated poster available for the management of an inoculation contamination injury? | Yes
15 | Are containers free from obvious blood and body fluid contamination? | Yes
16 | Are needle safety devices used where appropriate? | Yes
18
19
14
| Yes | 14
| No | 2
| N/A | 0
| Yes & No | 16
| % Audit Score Sharps Handling & Disposal | 87.5

## Vaccine Transportation Storage
9. Vaccine Transportation & Storage
Question Number | Statement | Yes/No/NA | Comments | Actions (To be completed by Practice Manager) | Date of Completion (To be completed by Practice Manager)
1 | Is there a policy/procedure for the safe receipt, storage and transportation of vaccines? | Yes
2 | Is there a policy for remedial action if vaccines are stored outside of the manufacturers recommended temperature ranges? i.e., 2- 8 degrees | Yes
3 | Is an audit undertaken annually of the entire vaccine process (receipt, storage, transportation, and usage)? | Yes
4 | Is there a named individual who is responsible for receiving & storing vaccines? | Yes
5 | Is there a named individual / deputy who is responsible for receiving & storing vaccines? | Yes
6 | Are all vaccines when delivered checked against the delivery note? | Yes
7 | Are vaccines placed immediately in a designated vaccine refrigerator on delivery? | Yes
8 | Are vaccine types, quantities, batch numbers, expiry dates and date and time received recorded? | Yes
9 | Are vaccines stored in a designated fridge, which is fit for purpose i.e. not domestic model? | Yes
10 | Does the refrigerator have an uninterrupted electrical supply or where not practical to do so is the plug identified as being for a drug fridge and therefore not to be switched off? | Yes
11 | Is the refrigerator situated away from a heat source and is air able to freely circulate around it? | Yes
12 | Are the contents evenly distributed within the refrigerator to allow air to circulate? | Yes
13 | Is the refrigerator locked? | Yes
14 | Is the refrigerator located in an area with restricted public access? | Yes
15 | Is the fridge checked, defrosted, and cleaned monthly, whilst vaccines are kept in an approved cool box with a minimum and maximum temperature range or 2nd fridge? | Yes
16 | Are there records of servicing, defrosting and cleaning, calibration and electrical testing recorded in with manufacturer’s instructions? | Yes
17 | Is there a back up plan in the event of a refrigerator failure? | Yes
18 | Are vaccines stored in their original packaging? | Yes
19 | Are vaccines in date with no more than 4 weeks of stock? | Yes
20 | Are vaccine stocks rotated and used according to date? | Yes
21 | Is the fridge fitted with a minimum maximum thermometer? | Yes
22 | Are temperature checks performed and recorded each working day? | Yes
23 | Are actual, maximum and minimum temperatures being recorded? | Yes
24 | Is the maximum and minimum thermometer reset after being read? | Yes
25 | Are recorded temperatures within the acceptable range of 2oC – 8oC? | Yes
26 | Has the refrigerator an alarm which activates when its temperature exceeds 8oC, or when it falls below 2oC ? | Yes
27 | Is there a system in place for safe disposal of expired/surplus/damaged vaccines? | Yes
28 | Are vaccines only removed from the base refrigerator immediately before leaving for an external session? | Yes
29 | Are vaccines returned immediately to the base refrigerator after an external session? | Yes
30 | During transport, are vaccines wrapped in bubble wrap (or similar insulation material) stored in a suitable approved cool box with a maximum and minimum thermometer with cool packs? | Yes
31 | Have all staff who receive and store vaccines received training (including maintenance of the cold chain)? | Yes
32
33
34
| Yes | 31
| No | 0
| N/A | 0
| Yes & No | 31
| % Audit Score Vaccine Transportation/Storage | 100

## Dirty Utility Sluice
10. Dirty Utility & Sluice
Question Number | Statement | Yes/No/NA | Comments | Actions (To be completed by Practice Manager) | Date of Completion (To be completed by Practice Manager)
1 | Is a sluice room available? | N/A
2 | Is the floor, walls and all surfaces, clean, cleanable and in good condition? | N/A
3 | Is the environment free from clutter? | N/A
4 | Are appropriate cleaning material and disinfectants available? | N/A
5 | Is there an equipment cleaning sink (not used for hand hygiene)? | N/A
6 | Is there a dedicated hand wash basin? | N/A
7 | Is the handwash basin easily accessible to users? | N/A
8 | Is the basin of a safe design i.e plug free, overflow free, waste offset from tap flow, providing water at a comfortable temperature (ie mixer taps or thermostatically controlled), elbow operated or paper towels used to turn off taps? | N/A
9 | Is the hand wash basin clean, in good condition and devoid of extraneous items? | N/A
10 | Is the soap dispensed from a single use cartridge? | N/A
11 | Is the liquid soap dispenser wall mounted and containing soap? | N/A
12 | Is the soap dispenser visibly clean? | N/A
13 | Are paper towels available from an enclosed dispenser? | N/A
14 | Is the paper towel dispenser visibly clean and containing paper towels? | N/A
15 | Is there a laminated hand hygiene poster displayed? | N/A
16 | Is there a safe system for discarding all bodily fluids? | N/A
17 | Is a poster available for the management of blood and bodily fluid spillages? | N/A
18 | Is PPE available either within or very close to the sluice and stored within an appropriate dispenser? | N/A
19 | Are all items stored away from the risk of possible splash contamination? | N/A
20 | Are appropriate waste bins available for the disposal of domestic, offensive/infectious waste? | N/A
21 | Are the waste bins, clean, in good condition and hands free operated? | N/A
22 | Is the waste segregated correctly? | N/A
23
| Yes | 0
| No | 0
| N/A | 22
| Yes & No | 0
| % Audit Score Dirty Utility/Sluice | #DIV/0!

## Kitchen Chilled Water
11. Kitchen/Chilled Water
Question Number | Statement | Yes/No/NA | Comments | Actions (To be completed by Practice Manager) | Date of Completion (To be completed by Practice Manager)
1 | Has the chilled water machine been connected from a mains supply? | N/A
2 | Are the instructions for the correct use and maintenance of chilled-water or ice-making machines available? | N/A
3 | Is the water cooler/ice machine clean, cleaned in line with manufacturer’s instructions and subject to planned maintenance? | N/A
| Yes | 0
| No | 0
| N/A | 3
| Yes & No | 0
| % Audit Score Kitchen/Chilled Water | #DIV/0!

## Storeroom & Equipment Storage
12. Storeroom & Equipment Storage
Question Number | Statement | Yes/No/NA | Comments | Actions (To be completed by Practice Manager) | Date of Completion (To be completed by Practice Manager)
1 | Is the storeroom sufficient for all items? | Yes
2 | Is the environment including floor visibly clean, cleanable and in good condition? | No | Store room on 1st floor.
3 | Is the storeroom free from clutter? | Yes
4 | Are all items in the storeroom stored away from any possible splash contamination and protected from dust? | Yes
5 | Are all items stored above floor level apart from items designed to be placed on the floor? | Yes
6 | Are all items of equipment clean? | Yes
7 | Is all equipment in good condition? | Yes
8 | Marked clean for the next patient use? | N/A
9 | Are sterile items undamaged and within expiry date? | Yes
10 | Are sterile items stored away from splash contamination? | Yes
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
| Yes | 8
| No | 1
| N/A | 1
| Yes & No | 9
| % Audit Score Storeroom & Storage of Equipment | 88.8889

## Baby Changing Facilities
13. Baby Changing Facilities
Question Number | Statement | Yes/No/NA | Comments | Actions (To be completed by Practice Manager) | Date of Completion (To be completed by Practice Manager)
1 | Is the baby changing room, including floor, clean, in good condition? | Yes
2 | Is baby changing equipment in good condition and clean? | Yes
3 | Is there information displayed for parents on how to clean the baby changing area afterwards? | Yes
4 | Are cleaning materials for parents available? | Yes
5 | Is there a dedicated hand washing sink? | Yes
6 | Are hand hygiene products readily available including liquid soap and paper towels | Yes
7 | Is a laminated hand hygiene poster available? | Yes
8 | Are there facilities available for correct disposal of domestic and offensive (if applicable) waste? | Yes
9 | Is the waste bin, clean, in good condition and hands free operated? | Yes
10 | Is the area free from extraneous items? | Yes
11
12
13
14
15
16
17
18
| Yes | 10
| No | 0
| N/A | 0
| Yes & No | 10
| % Audit Score Baby Changing Facilities | 100

## Patient Toilets
14. Patient Toilets
Question Number | Statement | Yes/No/NA | Comments | Actions (To be completed by Practice Manager) | Date of Completion (To be completed by Practice Manager)
1 | Are all toilet areas, including the floor, visibly clean, clutter free and in good condition? | Yes
2 | Are toilet brushes and their holders visibly clean? | N/A
3 | Is there a hand hygiene poster available? | Yes
4 | Is there a dedicated hand washing sink? | Yes
5 | Are hand hygiene products readily available including liquid soap and paper towels? | Yes
6 | Are there facilities available for correct disposal of domestic and offensive waste? | Yes
8 | Is the waste bin, clean, in good condition and hands free operated? | Yes
9 | Is the allocated toilet cleaning regime sufficient to maintain toilet cleanliness? | Yes
10
11
12
13
14
15
16
| Yes | 7
| No | 0
| N/A | 1
| Yes & No | 7
| % Audit Score Patient Toilets | 100

## Linen
15. Linen
Question Number | Statement | Yes/No/NA | Comments | Actions (To be completed by Practice Manager) | Date of Completion (To be completed by Practice Manager)
1 | Is linen used in this area? | N/A
2 | If so, are areas where clean linen is stored appropriate, in good condition, cleanable and off the floor? | N/A
3 | Is used linen stored in a designated area where it doesn’t pose an infection risk to others? | N/A
4 | Is used linen taken to an off-site laundry and NOT washed in clinical areas? | N/A
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
| Yes | 0
| No | 0
| N/A | 4
| Yes & No | 0
| % Audit Score Linen | #DIV/0!

## Validations
Nursing Home
Nursing & Residential Home
Residential Home
Yes
No
N/A
Claire Sherratt
Helen Healey
Helen Wilcox
Laura Peers
Ciara Ramsden
Sarah Deveney
Sally Voas
Jenny Dawson
Vicky Young
Karen Clearkin